## Slide 1: DIAGNOSIS OF PNEUMONIA FROM X-RAYS USING DEEP LEARNING Mrs.V.Sathya Preiya,M.C.A.,M.Phil.,M.E Associate Professor, Department of CSE Panimalar Engineering College Pavithra D (2017PECCS188) Pooja K (2017PECCS191) Priyadharscini S.N (2017PECCS200)
.
GUIDE DETAILS
BATCH-17

## Slide 2: INTRODUCTION
Pneumonia is a life-threatening infectious disease affecting lungs.
Symptoms - chest pain, difficulty in breathing, excessive cough.
Another infectious illness COVID-19 (Severe Acute Respiratory Syndrome Corona virus-2).
Over 150 million people get infected with Pneumonia especially children under 5 years old.
Proposed system
Detection of Pneumonia and COVID-19 from thoracic X-ray image
        Domain - Deep Learning.
        Convolution neural network (CNN) is designed to locate the affected regions.

## Slide 3: LITERATURE SURVEY
Year of Publishing | Author | Title | Merits | Demerits
2017 | Pranav Rajpurkar, Jeremy Irvin , Kaylie Zhu, Brandon Yang , Hershel Mehta ,Tony Duan, Daisy Ding, Aarti Bagul, Robyn L. Ball Curtis, Langlotz Katie Shpanskaya https://www.researchgate.net/publication/321095969_CheXNet_Radiologist-Level_Pneumonia_Detection_on_Chest_X-Rays_with_Deep_Learning | Radiologist-Level Pneumonia Detection on Chest X-Rays with Deep Learning | Higher threshold. | Variation of accuracy level
2019 | Deniz Yagmur Urey, Can Jozef Saul ,Doruk Taktakoglu https://www.researchgate.net/publication/332139478_Early_Diagnosis_of_Pneumonia_with_Deep_Learning | Early Diagnosis of Pneumonia with Deep Learning | Cost efficient | Different image processing techniques - Time consuming.
2020 | Vikash Chouhan , Sanjay Kumar Singh, Aditya Khamparia , Deepak Gupta , Prayag Tiwari , Carina Moreira , Rbertas Damaševiˇcius , and Victor Hugo C. de Albuquerque. https://www.mdpi.com/2076-3417/10/2/559 | A Novel Transfer Learning Based Approach for Pneumonia Detection in Chest X-ray Images | Improved accuracy | Time consuming and involves different models.

## Slide 4: PROBLEM STATEMENT
The risk of pneumonia and it’s severity in the form of COVID-19 are immense for many.
The WHO estimates that over 4 million premature deaths occur annually from household air pollution-related diseases including pneumonia.
In recent times, coronavirus has claimed hundreds of thousands of lives in countries around the world.
The problem can be further aggravated due to the dearth of medical resources and personnel.
For the highly populated areas, accurate and fast diagnosis means everything.
It can guarantee timely access to treatment and save much needed time and money.

## Slide 5: TECHNOLOGY STACK
DOMAIN : Deep Learning
FRONT END : Python Idle
BACK END : Tensorflow
LIBRARIES : Open CV
Keras

## Slide 6: SYSTEM ARCHITECTURE

## Slide 7: SYSTEM DESIGN
A) USE CASE DIAGRAM

## Slide 8: .
B) ACTIVITY DIAGRAM

## Slide 9: C) SEQUENCE DIAGRAM

## Slide 10: D) FLOW CHART DIAGRAM

## Slide 11: MODULE DESCRIPTION
MODULES
A) Exploring the Dataset
B) Pre-processing
C) CNN (Convolutional Neural Network) Classification
D) Training
E) Testing

## Slide 12
.
A) Exploring the Dataset
The dataset that will be used for this project will be the Chest X-Ray Images (Pneumonia) from Kaggle.
The dataset consists of training data, validation data, and testing data.
The training data consists of 4208 images split between 1626 pneumonia ,1221 COVID and 1361 normal images.
The validation data is small with only 9 images with 3 pneumonia , 3 COVID and 3 normal .
The testing data consists of 624 images split between 208 pneumonia ,204 COVID and 212 normal .
Sample Dataset
 | NORMAL | PNEUMONIA | COVID
TRAIN |  |  | 
TEST |  |  | 
VALIDATE |  |  | 

## Slide 13: .
B) Pre-processing
The X-Ray image of a person is fed as the input to the pre-processor for better visualization.
If the images are of low resolution or poor contrast, the pre-processor will enhance the contrast to get the accurate classification type.
Steps involved:
1) Read the image.
2) Resize the image.
3) Remove noise.
4) Segmentation.
DWT
DWT is the lossless image compression technique.
DWT is required to compress the image without any appreciable loss of information.
Decompose signal to wavelet (sub bands) LL,LH,HL,HH.

## Slide 14: .
C) CNN (Convolutional Neural Network) Classification
CNNs are a class of Deep Neural Networks that can recognize and classify particular features from images .
The term “Convolution” in CNN denotes that two images can be represented as matrices which are multiplied to give an output that is used to extract features from the image.
CNN model Diagram

## Slide 15
Layers of CNN
1.Input Layer
The x-ray image is fed as a input in the form of 3-D array of pixel values.
2.Convolutional Layer
In this layer, the mathematical operation of convolution is performed between the input image and a filter of a size MxM.
The dot product is taken between the filter and the parts of the input image with respect to the size of the filter (MxM).
3. ReLU Layer (rectified linear activation function or ReLU)
ReLU (Rectifier Linear Unit) is one of the activation function.
Its formula is max(x,0) means if the resultant value is positive then output would be the same positive value and if it is negative value then output would be zero.
4. Pooling Layer
A pooling layer is another building block of a CNN. Its function is to progressively reduce the spatial size.
The most common approach used in pooling is max pooling.

## Slide 16
5.Fully-Connected Layer
The Fully Connected (FC) layer consists of the weights and biases along with the class score for each of the classification category.
In this, the input image from the previous layers are flattened and fed to the FC layer.
6.Drop out Layer
Usually, when all the features are connected to the FC layer, it can cause overfitting in the training dataset.
Overfitting occurs when a particular model works so well on the training data causing a negative impact in the model’s performance when used on a new data.
To overcome this problem, a dropout layer is utilised wherein a few neurons are dropped from the neural network during training process resulting in reduced size of the model.

## Slide 17
D) Training
The actual dataset is used to train the model .
The model sees and learns from this data.
A number of recommended approaches in the toolkit that could be experimented with,
Weight Initialization.
Learning Rate.
      Activation Functions.
E) Testing
The dataset contains a test folder.
The confusion_matrix is imported and observed how the model predicts the actual labels.
Accuracy of the model ranges from 85% - 100%.

## Slide 18
Performance Analysis
For the CNN model developed ,we have evaluated the classification performance based on sensitivity, specificity, and accuracy.
More specifically, we have calculated true positives (TP), false positives (FP), true negatives (TN), and
false negatives (FN) based on the groups of COVID-19 ,Pneumonia, and normal.
Key Terms
TP Pneumonia is the number of Pneumonia testing data correctly classified as Pneumonia
TN Pneumonia is the number of non–pneumonia testing data correctly classified as non-pneumonia
FP Pneumonia is the number of non–pneumonia testing data misclassified as pneumonia
FN Pneumonia is the number of Penumonia testing data misclassified as non–pneumonia.

## Slide 19
Formulae
Sensitivity = TP / (TP+FN)
Specificity = TN / (TN+FP)
Accuracy = (TP+TN) / Total number of testing data
Analysis for Pneumonia
SENSITIVITY | SPECIFICITY | ACCURACY
True Positive(TP) = 99 False Negative(FN) = 5 Sensitivity = 99 / (99+5) = 0.9519 = 95.19% | True Negative(TN) = 102 False Positive(FP) = 2 Specificity = 102 / (102+2) = 0.9807 = 98.07% | True Positive(TP) = 99 True Negative(TN) = 102 Total no. of testing data = 208 Accuracy = (99+102) / 208 = 0.9663 = 96.63%

## Slide 20: PERFORMANCE EVALUATION
Model and data group |  | Sensitivity% | Specificity% | Accuracy%
CNN |  |  |  | 
 | COVID-19 | 99.50 | 100.00 | 99.87
 | Pneumonia | 95.19 | 98.07 | 96.63
 | Normal | 100.00 | 98.63 | 99.12
ResNet-16 |  |  |  | 
 | COVID-19 | 96.00 | 98.64 | 92.75
 | Pneumonia | 97.00 | 94.81 | 97.87
 | Normal | 94.00 | 99.80 | 100.00
AlexNet |  |  |  | 
 | COVID-19 | 97.91 | 99.29 | 98.87
 | Pneumonia | 98.52 | 99.05 | 98.87
 | Normal | 100.00 | 100.00 | 100.00
DenseNet-121 |  |  |  | 
 | COVID-19 | 88.28 | 97.68 | 94.87
 | Pneumonia | 94.10 | 95.83 | 95.24
 | Normal | 98.27 | 97.25 | 97.62

## Slide 21
SCREEN SHOTS
The below picture contain all the folders to run the complete project.
The three classes in the train folder are shown in the screenshot below ,

## Slide 22
Open the Anaconda Navigator with the newly created environment.
Open the terminal with the environment where there are necessary packages installed.

## Slide 23
Move to the respective drive and run the code.
There appears the confusion matrix and accuracy on the validation set.

## Slide 24
On closing the pictorial view of confusion matrix, there appears a gui where the x-ray images can be uploaded.
Initially upload the normal x-ray image,

## Slide 25
The selected image appears on the gui,
On clicking classify x-ray image, the frame with the input image and its segmentation opens up.

## Slide 26
Further,the image gets classified to be NORMAL.
Similarly, pneumonia and COVID affected x-ray image are uploaded and classified correctly.

## Slide 27
CONCLUSION
The risk of pneumonia and it’s severity in the form of COVID-19 are immense for many, especially in developing nations.
The study employs a flexible and efficient approach of deep learning by applying the model of CNN .
The models presented could achieve 90% accuracy and 100% of validation accuracy.
High validation accuracy will ensure that the number of false-negative instances is lower.
Thus, it is concluded that CNN classiﬁer therefore, be effective.
A large number of X-ray images can be processed very quickly to provide highly precise diagnostic results.

## Slide 28
REFERENCE
1. Tatiana Gabruseva, Dmytro Poplavskiy,Alexandr A. Kalinin, “Deep Learning for Automatic Pneumonia Detection” in 2020.
2. Pranav Rajpurkar, Jeremy Irvin, Kaylie Zhu, Brandon Yang, Hershel Mehta ,Tony Duan, Daisy Ding, Aarti Bagul, Robyn L. Ball Curtis, Langlotz Katie Shpanskaya, “Radiologist-Level Pneumonia Detection on Chest X-Rays with Deep Learning” in 2017.
3. Vikash Chouhan , Sanjay Kumar Singh, Aditya Khamparia , Deepak Gupta , Prayag Tiwari , Carina Moreira , Robertas Damasevicius , and Victor Hugo C. de Albuquerque, ”A Novel Transfer Learning Based Approach for Pneumonia Detection in Chest X-ray Images” in 2020.
4. Manuel Vázquez Enríquez, Juan Carlos Burguillo Rial,”A Deep Learning approach for pneumonia detection on chest X-Ray”, in 2019.
5. Deniz Yagmur Urey, Can Jozef Saul, Doruk Taktakoglu”, Early Diagnosis of Pneumonia with Deep Learning” in 2019.
6. Mohammad Rahimzadeh, Abolfazl Attar,”A Modified deep convolutional neural network for detecting COVID-19 and pneumonia from chest X-ray images based on the concatenation and ResNet50V2” in 2020.
7. Okeke Stephen, Mangal Sain, Uchenna Joseph Maduh and Do-Un Jeong,” An Efficient Deep Learning Approach to Pneumonia Classification in Healthcare” in 2019.
8. V. Sirish Kaushik, Anand Nayyar, Gaurav Kataria ,Rachna Jain, “Pneumonia Detection Using Convolutional Neural Networks ” in 2020.
9. Jaiswal, A.K., Tiwari, P., Kumar, S., Gupta, D., Khanna, A., Rodrigues, J.J.: Identifyingpneumonia in chest x-rays: a deep learning approach.

## Slide 29
THANK YOU!!!